## Sheet1
Data | Data point | Resolution | Required | API ready | Info
Crossborder flow | BE/DE | Quarter hourly | NRT | ok | H-2 is closest available
| BE/FR | Quarter hourly | NRT | ok | H-2 is closest available
| BE/NL | Quarter hourly | NRT | ok | H-2 is closest available
| BE/LU | Quarter hourly | NRT | ok | H-2 is closest available
| BE/UK | Quarter hourly | NRT | ok | H-2 is closest available
Conventional generation forecast | Gas | Quarter hourly | DA | ok
| Nuclear | Quarter hourly | DA | ok
| Water | Quarter hourly | DA | ok
SI and imbalance price | SI | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
| NRV | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
| ACE | Quarter hourly | NRT | ok | What is this?
| MIP | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
| MDP | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
| alpha | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
| POS | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
| NEG | Quarter hourly | NRT | ok | H-2 is closest available in 15min resolution. However, there is one-minute imbalance price of H-1
Load | Total load real | Quarter hourly | NRT |  | available up to H-4
| Total load forecast | Quarter hourly | DA |  | Not found
RES forecast | Wind offshore | Quarter hourly | DA | ok
| Wind onshore | Quarter hourly | DA | ok
| PV | Quarter hourly | DA | ok
Day-ahead price | BE | Hourly | DA |  | ENTSOE?
| FR | Hourly | DA
| NL | Hourly | DA
| LU | Hourly | DA
| UK | Hourly | DA
ARC merit order | Price level per volume | Quarter hourly | DA | ok, I think | Per step of 100MW between -1000 and +1000MW price point